## ER
EUT: | XYZ Widget |  |  | Test ID: | ER-RS1A |  | Combined Rd/Rt? | No
Test Date: | 2017-02-23 |  |  | Red Signal #: | RS1A |  | Test Type: | Rd
Tested By: | John Doe |  |  | Media (ER, BLC): | ER |  | Category: | B
Charge No.: | N/A |  |  | Level (I, II, or III): | II |  | Rd Rate: | 1 kbps
Mode: | EUT On in Mode A |  |  | Signal Class: | 2 |  | Rt Rate: | N/A
Table of CE
| Receiver | Signal | 30% AM | Transducer |  | Corrected |  | Delta Above | Lookup Table Parameters
Frequency | Bandwidth | Generator | Factor | Correction Factor | Cable Loss | Level | Limit | Limit | Transducer | Test Limit | Cable
(MHz) | (MHz) | (dBm) | (dB) | (dB/m) | (dB) | (dBuV/m) | (dBuV/m) | (dB) | (name) | (name) | (name)
10 | 0.05 | -82 | -10 | -0.15 | 0.21934 | 15.0693 | 20 | -4.9307 | Rod | ERIIB | Cable1
62 | 0.05 | -83 | -10 | 11.0751 | 0.29655 | 25.3716 | 20 | 5.3716 | Bicon | ERIIB | Cable1
149 | 0.05 | -87 | -10 | 13.2737 | 0.64246 | 23.9162 | 23.4637 | 0.45247 | Bicon | ERIIB | Cable1
225 | 0.05 | -60 | -10 | 11.0085 | 0.89306 | 48.9016 | 27.0437 | 21.8579 | 3106B | ERIIB | Cable1
Table of DRE
| Receiver | Signal | 30% AM | Transducer |  | Corrected |  | Delta Above | Lookup Table Parameters
Frequency | Bandwidth | Generator | Factor | Correction Factor | Cable Loss | Level | Limit | Limit | Transducer | Test Limit | Cable
(MHz) | (MHz) | (dBm) | (dB) | (dB/m) | (dB) | (dBuV/m) | (dBuV/m) | (dB) | (name) | (name) | (name)
25 | 0.05 | -70 | -10 | -0.43 | 0.23679 | 26.8068 | 20 | 6.8068 | Rod | ERIIB | Cable1
250 | 0.05 | -83 | -10 | 11.5978 | 0.95712 | 26.5549 | 27.9588 | -1.4039 | 3106B | ERIIB | Cable1
280 | 0.05 | -87 | -10 | 12.1313 | 1.026 | 23.1573 | 28.9432 | -5.7859 | 3106B | ERIIB | Cable1
300 | 0.05 | -60 | -10 | 12.9486 | 1.068 | 51.0165 | 29.5424 | 21.4741 | 3106B | ERIIB | Cable1
Available transducers are:
Rod
Bicon
3106B
SAS-571
Available test limits are:
ERIIA1, ERIIA2, ERIIB, ...
ERIA1, ERIA2, ERIB, ...
Available Cables are:
Cable1
Cable2
Cable3
Cable4
Cable5

## MR
EUT: | XYZ Widget |  |  | Test ID: | MR-RS1A |  | Combined Rd/Rt? | No
Test Date: | 2017-02-23 |  |  | Red Signal #: | RS1A |  | Test Type: | Rd
Tested By: | John Doe |  |  | Media (ER, BLC): | MR |  | Category: | B
Charge No.: | N/A |  |  | Level (I, II, or III): | I |  | Rd Rate: | 1 kbps
Mode: | EUT On in Mode A |  |  | Signal Class: | 2 |  | Rt Rate: | N/A
Table of CE
| Receiver | Signal | 30% AM | Transducer |  | Corrected |  | Delta Above | Lookup Table Parameters
Frequency | Bandwidth | Generator | Factor | Correction Factor | Cable Loss | Level | Limit | Limit | Transducer | Test Limit | Cable
(MHz) | (MHz) | (dBm) | (dB) | (dBuA/m/dBuV) | (dB) | (dBuA/m) | (dBuA/m) | (dB) | (name) | (name) | (name)
5 | 0.05 | -82 | -10 | -14.0832 | 0.20613 | 1.1229 | 26.0206 | -24.8977 | EM-6872 | MRIB | Cable1
15 | 0.05 | -83 | -10 | -14.6309 | 0.22706 | -0.40387 | 20 | -20.4039 | EM-6872 | MRIB | Cable1
22 | 0.05 | -87 | -10 | -14.2823 | 0.23436 | -4.048 | 20 | -24.048 | EM-6872 | MRIB | Cable1
28 | 0.05 | -60 | -10 | -14.0628 | 0.23895 | 23.1762 | 20 | 3.1762 | EM-6872 | MRIB | Cable1
Table of DRE
| Receiver | Signal | 30% AM | Transducer |  | Corrected |  | Delta Above | Lookup Table Parameters
Frequency | Bandwidth | Generator | Factor | Correction Factor | Cable Loss | Level | Limit | Limit | Transducer | Test Limit | Cable
(MHz) | (MHz) | (dBm) | (dB) | (dBuA/m/dBuV) | (dB) | (dBuA/m) | (dBuA/m) | (dB) | (name) | (name) | (name)
1 | 0.05 | -70 | -10 | -2.9705 | 0.17547 | 24.2049 | 40 | -15.7951 | EM-6872 | MRIB | Cable1
3 | 0.05 | -83 | -10 | -12 | 0.1964 | 2.1964 | 30.4576 | -28.2612 | EM-6872 | MRIB | Cable1
8 | 0.05 | -87 | -10 | -16 | 0.21509 | -5.7849 | 21.9382 | -27.7231 | EM-6872 | MRIB | Cable1
25 | 0.05 | -60 | -10 | -14.166 | 0.23679 | 23.0708 | 20 | 3.0708 | EM-6872 | MRIB | Cable1
Available transducers are:
EM-6871
EM-6872
Generally switch at 400 kHz
Available test limits are:
MRIA1, MRIA2, MRIB, ...
Available Cables are:
Cable1
Cable2
Cable3
Cable4
Cable5

## BLC
EUT: | XYZ Widget |  |  | Test ID: | BLC-RS1A-CAN |  | Combined Rd/Rt? | No
Test Date: | 2017-02-23 |  |  | Red Signal #: | RS1A |  | Test Type: | Rd
Tested By: | John Doe |  |  | Media (ER, BLC): | BLC-RS232-1 |  | Category: | B
Charge No.: | N/A |  |  | Level (I, II, or III): | I |  | Rd Rate: | 1 kbps
Mode: | EUT On in Mode A |  |  | Signal Class: | 2 |  | Rt Rate: | N/A
Table of CE
| Receiver | Signal | 30% AM | Transducer |  | Corrected |  | Delta Above | Lookup Table Parameters
Frequency | Bandwidth | Generator | Factor | Correction Factor | Cable Loss | Level | Limit | Limit | Transducer | Test Limit | Cable
(MHz) | (MHz) | (dBm) | (dB) | (dB) | (dB) | (dBuV) | (dBuV) | (dB) | (name) | (name) | (name)
10 | 0.05 | -82 | -10 | 0.05 | 0.21934 | 15.2693 | 20 | -4.7307 | BLK-18-S+ | BLCIB | Cable1
62 | 0.05 | -83 | -10 | 0.03 | 0.29655 | 14.3266 | 20 | -5.6734 | BLK-18-S+ | BLCIB | Cable1
149 | 0.05 | -87 | -10 | 0.03726 | 0.64246 | 10.6797 | 23.4637 | -12.784 | BLK-18-S+ | BLCIB | Cable1
225 | 0.05 | -60 | -10 | 0.044763 | 0.89306 | 37.9378 | 27.0437 | 10.8942 | BLK-18-S+ | BLCIB | Cable1
Table of DRE
| Receiver | Signal | 30% AM | Transducer |  | Corrected |  | Delta Above | Lookup Table Parameters
Frequency | Bandwidth | Generator | Factor | Correction Factor | Cable Loss | Level | Limit | Limit | Transducer | Test Limit | Cable
(MHz) | (MHz) | (dBm) | (dB) | (dB) | (dB) | (dBuV) | (dBuV) | (dB) | (name) | (name) | (name)
25 | 0.05 | -70 | -10 | 0.038614 | 0.23679 | 27.2754 | 20 | 7.2754 | BLK-18-S+ | BLCIB | Cable1
250 | 0.05 | -83 | -10 | 0.046681 | 0.95712 | 15.0038 | 27.9588 | -12.955 | BLK-18-S+ | BLCIB | Cable1
280 | 0.05 | -87 | -10 | 0.048744 | 1.026 | 11.0748 | 28.9432 | -17.8684 | BLK-18-S+ | BLCIB | Cable1
300 | 0.05 | -60 | -10 | 0.05 | 1.068 | 38.118 | 29.5424 | 8.5755 | BLK-18-S+ | BLCIB | Cable1
Available transducers are:
50DB-060
BLK-89-S+ (generally use above 50 kHz)
BLK-18-S+ (generally use above 2 MHz)
Available test limits are:
BLCIA1, BLCIA2, BLCIB, ...
Available Cables are:
Cable1
Cable2
Cable3
Cable4
Cable5

## PLC
EUT: | XYZ Widget |  |  | Test ID: | PLC-RS1A |  | Combined Rd/Rt? | No
Test Date: | 2017-02-23 |  |  | Red Signal #: | RS1A |  | Test Type: | Rd
Tested By: | John Doe |  |  | Media (ER, BLC): | BLC-AC Neutral |  | Category: | B
Charge No.: | N/A |  |  | Level (I, II, or III): | I |  | Rd Rate: | 1 kbps
Mode: | EUT On in Mode A |  |  | Signal Class: | 2 |  | Rt Rate: | N/A
Table of CE
| Receiver | Signal | 30% AM | Transducer |  | Corrected |  | Delta Above | Lookup Table Parameters
Frequency | Bandwidth | Generator | Factor | Correction Factor | Cable Loss | Level | Limit | Limit | Transducer | Test Limit | Cable
(MHz) | (MHz) | (dBm) | (dB) | (dB) | (dB) | (dBuV) | (dBuV) | (dB) | (name) | (name) | (name)
0.1 | 0.05 | -82 | -10 | 0.47 | 0.1316 | 15.6016 | 50 | -34.3984 | LISN-LF-2 | BLCIB | Cable1
62 | 0.05 | -83 | -10 | 0.34414 | 0.29655 | 14.6407 | 20 | -5.3593 | LISN-HF-2 | BLCIB | Cable1
149 | 0.05 | -87 | -10 | 0.62711 | 0.64246 | 11.2696 | 23.4637 | -12.1942 | LISN-HF-2 | BLCIB | Cable1
225 | 0.05 | -60 | -10 | 0.85553 | 0.89306 | 38.7486 | 27.0437 | 11.7049 | LISN-HF-2 | BLCIB | Cable1
Table of DRE
| Receiver | Signal | 30% AM | Transducer |  | Corrected |  | Delta Above | Lookup Table Parameters
Frequency | Bandwidth | Generator | Factor | Correction Factor | Cable Loss | Level | Limit | Limit | Transducer | Test Limit | Cable
(MHz) | (MHz) | (dBm) | (dB) | (dB) | (dB) | (dBuV) | (dBuV) | (dB) | (name) | (name) | (name)
25 | 0.05 | -70 | -10 | 0.31 | 0.23679 | 27.5468 | 20 | 7.5468 | LISN-HF-2 | BLCIB | Cable1
250 | 0.05 | -83 | -10 | 0.92309 | 0.95712 | 15.8802 | 27.9588 | -12.0786 | LISN-HF-2 | BLCIB | Cable1
280 | 0.05 | -87 | -10 | 0.99576 | 1.026 | 12.0218 | 28.9432 | -16.9214 | LISN-HF-2 | BLCIB | Cable1
300 | 0.05 | -60 | -10 | 1.04 | 1.068 | 39.108 | 29.5424 | 9.5655 | LISN-HF-2 | BLCIB | Cable1
Available transducers are:
LISN-LF-1 (EM-7840 Low Frequency Line L1)
LISN-LF-2 (EM-7840 Low Frequency Line N)
LISN-HF-1 (EM-7840 High Frequency Line L1)
LISN-HF-2 (EM-7840 High Frequency Line N)
In general, switch the EM-7840 LISN ports at 10 MHz.
LISNTH (LISN is TBD)
Available test limits are:
BLCIA1, BLCIA2, BLCIB, ...
Available Cables are:
Cable1
Cable2
Cable3
Cable4
Cable5
Graph is pasted into Excel from ELEKTRA by using Copy To Clipboard.
Right click on the picture and re-size to 60%.
Then crop the image to remove the gray sidebars.

## Limits
ER Level II Cat A1 (example only) |  |  | ER Level II Cat A2 |  |  | ER Level II Cat B |  |  | ER Level II Cat C |  |  | ER Level II Cat D |  |  | ER Level II Cat E |  |  | ER Level II Cat F |  |  | ER Level II Cat G |  |  | ER Level II Cat H |  |  | ER Level II Cat I |  |  | ER Level II Cat J |  |  | ER Level I Cat A1 (example only) |  |  | ER Level I Cat A2 |  |  | ER Level I Cat B |  |  | ER Level I Cat C |  |  | ER Level I Cat D |  |  | ER Level I Cat E |  |  | ER Level I Cat F |  |  | ER Level I Cat G |  |  | ER Level I Cat H |  |  | ER Level I Cat I |  |  | ER Level I Cat J |  |  | MR Level I Cat A2 |  |  | MR Level I Cat B |  |  | MR Level I Cat C |  |  | MR Level I Cat D |  |  | MR Level I Cat E |  |  | MR Level I Cat F |  |  | MR Level I Cat G |  |  | MR Level I Cat H |  |  | BLC Level I Cat A1 |  |  | BLC Level I Cat A2 |  |  | BLC Level I Cat B |  |  | BLC Level I Cat C |  |  | BLC Level I Cat D |  |  | BLC Level I Cat E |  |  | BLC Level I Cat F |  |  | BLC Level I Cat G |  |  | BLC Level I Cat H |  |  | BLC Level I Cat I |  |  | BLC Level I Cat J
Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level |  | Frequency | Level
(MHz) | (dBuV/m) |  | (MHz) | (dBuV/m) |  | (MHz) | (dBuV/m) |  | (MHz) | (dBuV/m) |  | (MHz) | (dBuV/m) |  | (MHz) | (dBuV/m) |  | (MHz) | (dBuV/m) |  | (MHz) | (dBuV/m) |  | (MHz) | (dBuV/m) |  | (MHz) | (dBuV/m) |  | (MHz) | (dBuV/m) |  | (MHz) | (dBuV/m) |  | (MHz) | (dBuV/m) |  | (MHz) | (dBuV/m) |  | (MHz) | (dBuV/m) |  | (MHz) | (dBuV/m) |  | (MHz) | (dBuV/m) |  | (MHz) | (dBuV/m) |  | (MHz) | (dBuV/m) |  | (MHz) | (dBuV/m) |  | (MHz) | (dBuV/m) |  | (MHz) | (dBuV/m) |  | (MHz) | (dBuV/m) |  | (MHz) | (dBuV/m) |  | (MHz) | (dBuV/m) |  | (MHz) | (dBuV/m) |  | (MHz) | (dBuV/m) |  | (MHz) | (dBuV/m) |  | (MHz) | (dBuV/m) |  | (MHz) | (dBuV/m) |  | (MHz) | (dBuV) |  | (MHz) | (dBuV) |  | (MHz) | (dBuV) |  | (MHz) | (dBuV) |  | (MHz) | (dBuV) |  | (MHz) | (dBuV) |  | (MHz) | (dBuV) |  | (MHz) | (dBuV) |  | (MHz) | (dBuV) |  | (MHz) | (dBuV) |  | (MHz) | (dBuV)
| ERIIA1 |  |  | ERIIA2 |  |  | ERIIB |  |  | ERIIC |  |  | ERIID |  |  | ERIIE |  |  | ERIIF |  |  | ERIIG |  |  | ERIIH |  |  | ERIII |  |  | ERIIJ |  |  | ERIA1 |  |  | ERIA2 |  |  | ERIB |  |  | ERIC |  |  | ERID |  |  | ERIE |  |  | ERIF |  |  | ERIG |  |  | ERIH |  |  | ERII |  |  | ERIJ |  |  | MRIA2 |  |  | MRIB |  |  | MRIC |  |  | MRID |  |  | MRIE |  |  | MRIF |  |  | MRIG |  |  | MRIH |  |  | BLCIA1 |  |  | BLCIA2 |  |  | BLCIB |  |  | BLCIC |  |  | BLCID |  |  | BLCIE |  |  | BLCIF |  |  | BLCIG |  |  | BLCIH |  |  | BLCII |  |  | BLCIJ
0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4 | 0.0001 | 80 | -4
1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0 | 1 | 40 | 0
10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1 | 10 | 20 | 1
100 | 20 | 2 | 100 | 20 | 2 | 100 | 20 | 2 | 100 | 20 | 2 | 100 | 20 | 2 | 100 | 20 | 2 | 100 | 20 | 2 | 100 | 20 | 2 | 100 | 20 | 2 | 100 | 20 | 2 | 100 | 20 | 2 | 100 | 20 | 2 | 100 | 20 | 2 | 100 | 20 | 2 | 100 | 20 | 2 | 100 | 20 | 2 | 100 | 20 | 2 | 100 | 20 | 2 | 100 | 20 | 2 | 100 | 20 | 2 | 100 | 20 | 2 | 100 | 20 | 2 | 30.0001 | 20 | 1.4771 | 30.0001 | 20 | 1.4771 | 30.0001 | 20 | 1.4771 | 30.0001 | 20 | 1.4771 | 30.0001 | 20 | 1.4771 | 30.0001 | 20 | 1.4771 | 30.0001 | 20 | 1.4771 | 30.0001 | 20 | 1.4771 | 100 | 20 | 2 | 100 | 20 | 2 | 100 | 20 | 2 | 100 | 20 | 2 | 100 | 20 | 2 | 100 | 20 | 2 | 100 | 20 | 2 | 100 | 20 | 2 | 100 | 20 | 2 | 100 | 20 | 2 | 100 | 20 | 2
1000 | 40 | 3 | 1000 | 40 | 3 | 1000 | 40 | 3 | 1000 | 40 | 3 | 1000 | 40 | 3 | 1000 | 40 | 3 | 1000 | 40 | 3 | 1000 | 40 | 3 | 1000 | 40 | 3 | 1000 | 40 | 3 | 1000 | 40 | 3 | 1000 | 40 | 3 | 1000 | 40 | 3 | 1000 | 40 | 3 | 1000 | 40 | 3 | 1000 | 40 | 3 | 1000 | 40 | 3 | 1000 | 40 | 3 | 1000 | 40 | 3 | 1000 | 40 | 3 | 1000 | 40 | 3 | 1000 | 40 | 3 | [24 empty] | 1000 | 40 | 3 | 1000 | 40 | 3 | 1000 | 40 | 3 | 1000 | 40 | 3 | 1000 | 40 | 3 | 1000 | 40 | 3 | 1000 | 40 | 3 | 1000 | 40 | 3 | 1000 | 40 | 3 | 1000 | 40 | 3 | 1000 | 40 | 3
10000.001 | 40 | 4 | 10000.001 | 40 | 4 | 10000.001 | 40 | 4 | 10000.001 | 40 | 4 | 10000.001 | 40 | 4 | 10000.001 | 40 | 4 | 10000.001 | 40 | 4 | 10000.001 | 40 | 4 | 10000.001 | 40 | 4 | 10000.001 | 40 | 4 | 10000.001 | 40 | 4 | 10000.001 | 40 | 4 | 10000.001 | 40 | 4 | 10000.001 | 40 | 4 | 10000.001 | 40 | 4 | 10000.001 | 40 | 4 | 10000.001 | 40 | 4 | 10000.001 | 40 | 4 | 10000.001 | 40 | 4 | 10000.001 | 40 | 4 | 10000.001 | 40 | 4 | 10000.001 | 40 | 4 | [24 empty] | 10000.001 | 40 | 4 | 10000.001 | 40 | 4 | 10000.001 | 40 | 4 | 10000.001 | 40 | 4 | 10000.001 | 40 | 4 | 10000.001 | 40 | 4 | 10000.001 | 40 | 4 | 10000.001 | 40 | 4 | 10000.001 | 40 | 4 | 10000.001 | 40 | 4 | 10000.001 | 40 | 4
All limits on this tab are entered as Signal Class 2.

## Transducers
50DB-060 BNC | Insertion |  | BLK-89-S+ | Insertion |  | BLK-18-S+ | Insertion |  | SAS-550-2B | Antenna |  | SAS-544F | Antenna |  | 3106B | Antenna |  | SAS-571 | Antenna |  | EM-6871 | Loop Antenna |  | EM-6872 | Loop Antenna |  | EM-7840 LF Line 1 (L1) |  |  | EM-7840 LF Line 2 (N) |  |  | EM-7840 HF Line 1 (L1) |  |  | EM-7840 HF Line 2 (N) |  |  | LISNTH | LISN
DC Block | Loss |  | DC Block | Loss |  | DC Block | Loss |  | S/N 318 | Correction |  | S/N 350 | Correction |  | S/N 155707 | Correction |  | S/N 2177 | Correction |  | S/N 189 | Correction |  | S/N ??? | Correction |  | S/N 109 | LISN Correction |  | S/N 109 | LISN Correction |  | S/N 109 | LISN Correction |  | S/N 109 | LISN Correction |  | LISN | Correction
Frequency | Factor |  | Frequency | Factor |  | Frequency | Factor |  | Frequency | Factor |  | Frequency | Factor |  | Frequency | Factor |  | Frequency | Factor |  | Frequency | Factor |  | Frequency | Factor |  | Frequency | Factor |  | Frequency | Factor |  | Frequency | Factor |  | Frequency | Factor |  | Frequency | Factor
(MHz) | (dB) |  | (MHz) | (dB) |  | (MHz) | (dB) |  | (MHz) | (dB/m) |  | (MHz) | (dB/m) |  | (MHz) | (dB/m) |  | (MHz) | (dB/m) |  | (MHz) | (dBuA/m/dBuV) |  | (MHz) | (dBuA/m/dBuV) |  | (MHz) | (dB) |  | (MHz) | (dB) |  | (MHz) | (dB) |  | (MHz) | (dB) |  | (MHz) | (dB)
| 50DB-060 |  |  | BLK-89-S+ |  |  | BLK-18-S+ |  |  | Rod |  |  | Bicon |  |  | 3106B |  |  | SAS-571 |  |  | EM-6871 |  |  | EM-6872 |  |  | LISN-LF-1 |  |  | LISN-LF-2 |  |  | LISN-HF-1 |  |  | LISN-HF-2 |  |  | LISNTH
0.0001 | 11.4872 | -4 | 0.0001 | 44.0366 | -4 | 0.0001 | 75.3291 | -4 | 0.0001 | 28.9 | -4 | 30 | 11.1929 | 1.4771 | 200 | 10.9514 | 2.301 | 1000.0002 | 22.6636 | 3 | 3e-05 | 47.8 | -4.5229 | 0.2 | 10 | -0.69897 | 0.0001 | 31.4717 | -4 | 0.0001 | 31.4717 | -4 | 2 | 0.24 | 0.30103 | 2 | 0.249 | 0.30103 | 200 | 1.7 | 2.301
0.0002 | 6.3053 | -3.699 | 0.0002 | 38.0165 | -3.699 | 0.0002 | 69.3085 | -3.699 | 0.0002 | 18 | -3.699 | 35 | 10.6961 | 1.5441 | 220 | 10.7827 | 2.3424 | 1250 | 24.5804 | 3.0969 | 0.0001 | 42.8 | -4 | 0.4 | 5 | -0.39794 | 0.0002 | 25.4604 | -3.699 | 0.0002 | 25.4604 | -3.699 | 5 | 0.331 | 0.69897 | 5 | 0.335 | 0.69897 | 600 | 1.7 | 2.7782
0.0004 | 2.5953 | -3.3979 | 0.0004 | 31.998 | -3.3979 | 0.0004 | 63.2879 | -3.3979 | 0.0003 | 13.19 | -3.5229 | 40 | 12.4194 | 1.6021 | 240 | 11.6572 | 2.3802 | 1500 | 23.9801 | 3.1761 | 0.0005 | 28.8 | -3.301 | 2 | -9 | 0.30103 | 0.0004 | 19.4767 | -3.3979 | 0.0004 | 19.4767 | -3.3979 | 10 | 0.26 | 1 | 10 | 0.33 | 1 | 700 | 1.4 | 2.8451
0.001 | 0.53401 | -3 | 0.001 | 24.0535 | -3 | 0.001 | 55.3291 | -3 | 0.0004 | 10.37 | -3.3979 | 45 | 12.6245 | 1.6532 | 260 | 11.5408 | 2.415 | 1750 | 25.0103 | 3.243 | 0.001 | 23.8 | -3 | 3 | -12 | 0.47712 | 0.001 | 11.7678 | -3 | 0.001 | 11.7678 | -3 | 20 | 0.23 | 1.301 | 20 | 0.31 | 1.301 | 800 | 1.1 | 2.9031
0.002 | 0.13978 | -2.699 | 0.002 | 18.0839 | -2.699 | 0.002 | 49.3085 | -2.699 | 0.0005 | 8.52 | -3.301 | 50 | 11.9926 | 1.699 | 280 | 12.1313 | 2.4472 | 2000 | 27.5369 | 3.301 | 0.002 | 19.8 | -2.699 | 8 | -16 | 0.90309 | 0.002 | 6.5378 | -2.699 | 0.002 | 6.5378 | -2.699 | 50 | 0.26 | 1.699 | 50 | 0.31 | 1.699 | 900 | 0.8 | 2.9542
0.004 | 0.03537 | -2.3979 | 0.004 | 12.2612 | -2.3979 | 0.004 | 43.2881 | -2.3979 | 0.0006 | 7.06 | -3.2218 | 60 | 11.6319 | 1.7782 | 300 | 12.9486 | 2.4771 | 2500 | 29.4622 | 3.3979 | 0.004 | 15.8 | -2.3979 | 10 | -15 | 1 | 0.004 | 2.7334 | -2.3979 | 0.004 | 2.7334 | -2.3979 | 100 | 0.37 | 2 | 100 | 0.42 | 2 | 1000 | 0.7 | 3
0.006 | 0.015755 | -2.2218 | 0.006 | 9.0505 | -2.2218 | 0.006 | 39.7665 | -2.2218 | 0.0007 | 5.85 | -3.1549 | 70 | 9.0142 | 1.8451 | 320 | 13.1927 | 2.5051 | 3000 | 30.8438 | 3.4771 | 0.007 | 12.8 | -2.1549 | 30.0001 | -14 | 1.4771 | 0.005 | 1.83 | -2.301 | 0.005 | 1.97 | -2.301 | 200 | 0.9 | 2.301 | 200 | 0.78 | 2.301 | 1500 | 1.2 | 3.1761
0.008 | 0.0088694 | -2.0969 | 0.008 | 6.9529 | -2.0969 | 0.008 | 37.2681 | -2.0969 | 0.0008 | 4.92 | -3.0969 | 80 | 8.737 | 1.9031 | 340 | 13.7847 | 2.5315 | 3500 | 30.5609 | 3.5441 | 0.01 | 10.8 | -2 |  |  |  | 0.01 | 1.76 | -2 | 0.01 | 1.88 | -2 | 300 | 0.9 | 2.4771 | 300 | 1.04 | 2.4771 | 2000 | 1 | 3.301
0.01 | 0.0056785 | -2 | 0.01 | 5.4815 | -2 | 0.01 | 35.3304 | -2 | 0.0009 | 4.24 | -3.0458 | 90 | 11.3886 | 1.9542 | 360 | 13.9978 | 2.5563 | 4000 | 32.0095 | 3.6021 | 0.02 | 7.8 | -1.699 |  |  |  | 0.02 | 1.61 | -1.699 | 0.02 | 1.71 | -1.699 | 400 | 1.22 | 2.6021 | 400 | 1.31 | 2.6021 | 2500 | 0.6 | 3.3979
0.015 | 0.0025247 | -1.8239 | 0.015 | 3.2752 | -1.8239 | 0.015 | 31.8101 | -1.8239 | 0.001 | 3.57 | -3 | 100 | 13.0428 | 2 | 380 | 13.6038 | 2.5798 | 4500 | 32.6129 | 3.6532 | 0.04 | 7.3 | -1.3979 |  |  |  | 0.05 | 1.18 | -1.301 | 0.05 | 1.26 | -1.301 | 500 | 1.97 | 2.699 | 500 | 1.91 | 2.699 | 3000 | 1 | 3.4771
0.05 | 0.00022728 | -1.301 | 0.05 | 0.41914 | -1.301 | 0.05 | 21.3814 | -1.301 | 0.002 | 0.82 | -2.699 | 110 | 14.7836 | 2.0414 | 400 | 13.6126 | 2.6021 | 5000 | 34.414 | 3.699 | 0.07 | 5.3 | -1.1549 |  |  |  | 0.1 | 0.45 | -1 | 0.1 | 0.47 | -1 | 600 | 2.01 | 2.7782 | 600 | 2.24 | 2.7782 | 3500 | 0.8 | 3.5441
0.1 | 5.6822e-05 | -1 | 0.1 | 0.10864 | -1 | 0.1 | 15.4546 | -1 | 0.003 | 0.11 | -2.5229 | 120 | 13.7628 | 2.0792 | 420 | 13.5185 | 2.6232 | 5500 | 34.5624 | 3.7404 | 0.1 | 5.8 | -1 |  |  |  | 0.2 | 0.33 | -0.69897 | 0.2 | 0.33 | -0.69897 | 700 | 1.44 | 2.8451 | 700 | 1.66 | 2.8451 | 4000 | 0.8 | 3.6021
0.3 | 6.3136e-06 | -0.52288 | 0.3 | 0.01 | -0.52288 | 0.3 | 6.8036 | -0.52288 | 0.004 | -0.19 | -2.3979 | 130 | 13.0481 | 2.1139 | 440 | 14.666 | 2.6435 | 6000 | 35.6545 | 3.7782 | 0.2 | 4.3 | -0.69897 |  |  |  | 0.5 | 0.31 | -0.30103 | 0.5 | 0.28 | -0.30103 | 800 | 1.23 | 2.9031 | 800 | 1.35 | 2.9031 | 4500 | 1.1 | 3.6532
0.5 | 2.2729e-06 | -0.30103 | 0.6 | 0.01 | -0.22185 | 0.5 | 3.7374 | -0.30103 | 0.005 | -0.3 | -2.301 | 140 | 13.1798 | 2.1461 | 460 | 15.9408 | 2.6628 | 6500 | 36.5143 | 3.8129 | 0.4 | 4.8 | -0.39794 |  |  |  | 1 | 0.33 | 0 | 1 | 0.29 | 0 | 900 | 1.25 | 2.9542 | 900 | 1.16 | 2.9542 | 5000 | 1.1 | 3.699
1 | 5.6822e-07 | 0 | 1 | 0.01 | 0 | 1 | 1.2747 | 0 | 0.006 | -0.37 | -2.2218 | 150 | 13.2838 | 2.1761 | 480 | 16.5267 | 2.6812 | 7000 | 36.9575 | 3.8451 | 0.7 | 4.8 | -0.1549 |  |  |  | 1.5 | 0.49 | 0.17609 | 1.5 | 0.43 | 0.17609 | 1000.001 | 1.34 | 3 | 1000.001 | 1.06 | 3 | 5500 | 1.1 | 3.7404
2 | 1.4206e-07 | 0.30103 | 50 | 0.02 | 1.699 | 2 | 0.35542 | 0.30103 | 0.007 | -0.41 | -2.1549 | 160 | 15.3916 | 2.2041 | 500 | 17.0502 | 2.699 | 7500 | 37.4615 | 3.8751 | 1 | 4.7 | 4.3429e-06 |  |  |  | 2 | 0.6 | 0.30103 | 2 | 0.54 | 0.30103 | [6 empty] | 6000 | 1.3 | 3.7782
3 | 6.3136e-08 | 0.47712 | 100 | 0.03 | 2 | 3 | 0.16156 | 0.47712 | 0.007 | -0.43 | -2.1549 | 170 | 17.9177 | 2.2304 | 520 | 16.999 | 2.716 | 8000 | 38.3854 | 3.9031 | [6 empty] | 5 | 0.51 | 0.69897 | 5 | 0.5 | 0.69897 | [6 empty] | 6500 | 1.3 | 3.8129
5 | 2.2729e-08 | 0.69897 | 200 | 0.04 | 2.301 | 5 | 0.058858 | 0.69897 | 0.009 | -0.43 | -2.0458 | 180 | 19.7444 | 2.2553 | 540 | 16.0076 | 2.7324 | 8500 | 38.1154 | 3.9294 | [6 empty] | 10 | 0.06 | 1 | 10 | 0.06 | 1 | [6 empty] | 7000 | 1.2 | 3.8451
10 | 5.6822e-09 | 1 | 300 | 0.05 | 2.4771 | 10 | 0.05 | 1 | 0.01 | -0.44 | -2 | 190 | 19.6355 | 2.2788 | 560 | 16.879 | 2.7482 | 9000 | 38.1933 | 3.9542 | [6 empty] | 15 | 0.45 | 1.1761 | 15 | 0.64 | 1.1761 | [6 empty] | 7500 | 1.3 | 3.8751
20 | 1.4206e-09 | 1.301 | 400 | 0.06 | 2.6021 | 50 | 0.03 | 1.699 | 0.02 | -0.41 | -1.699 | 200.001 | 18.8469 | 2.301 | 580 | 17.9853 | 2.7634 | 9500 | 38.4071 | 3.9777 | [6 empty] | 20.001 | 0.93 | 1.3011 | 20.001 | 0.84 | 1.3011 | [6 empty] | 8000 | 2.2 | 3.9031
30 | 6.3136e-10 | 1.4771 | 500 | 0.06 | 2.699 | 100 | 0.03 | 2 | 0.03 | -0.36 | -1.5229 |  |  |  | 600 | 17.4676 | 2.7782 | 10000 | 38.6569 | 4 | [18 empty] | 8500 | 2.7 | 3.9294
50 | 2.2729e-10 | 1.699 | 700 | 0.07 | 2.8451 | 300 | 0.05 | 2.4771 | 0.04 | -0.33 | -1.3979 |  |  |  | 620 | 17.7292 | 2.7924 | 10500 | 38.7785 | 4.0212 | [18 empty] | 9000 | 2.6 | 3.9542
100 | 5.6822e-11 | 2 | 800 | 0.08 | 2.9031 | 500 | 0.07 | 2.699 | 0.05 | -0.31 | -1.301 |  |  |  | 640 | 17.5819 | 2.8062 | [21 empty] | 9500 | 4 | 3.9777
2000.001 | 5.786e-15 | 3.301 | 900 | 0.08 | 2.9542 | 700 | 0.11 | 2.8451 | 0.06 | -0.28 | -1.2218 |  |  |  | 660 | 17.7239 | 2.8195 | [21 empty] | 10000 | 4.2 | 4
|  |  | 1000 | 0.09 | 3 | 900 | 0.1 | 2.9542 | 0.07 | -0.26 | -1.1549 |  |  |  | 680 | 17.5598 | 2.8325
|  |  | 2000 | 0.12 | 3.301 | 1000 | 0.1 | 3 | 0.08 | -0.26 | -1.0969 |  |  |  | 700 | 18.4794 | 2.8451
|  |  | 3000 | 0.18 | 3.4771 | 2000 | 0.12 | 3.301 | 0.09 | -0.26 | -1.0458 |  |  |  | 720 | 17.9011 | 2.8573
|  |  | 4000 | 0.24 | 3.6021 | 3000 | 0.16 | 3.4771 | 0.1 | -0.25 | -1 |  |  |  | 740 | 18.4069 | 2.8692
|  |  | 5000 | 0.41 | 3.699 | 4000 | 0.2 | 3.6021 | 0.2 | -0.2 | -0.69897 |  |  |  | 760 | 18.0396 | 2.8808
|  |  | 6000 | 0.47 | 3.7782 | 5000 | 0.23 | 3.699 | 0.3 | -0.14 | -0.52288 |  |  |  | 780 | 18.8033 | 2.8921
|  |  | 7000 | 0.42 | 3.8451 | 6000 | 0.32 | 3.7782 | 0.4 | -0.15 | -0.39794 |  |  |  | 800 | 19.2891 | 2.9031
|  |  | 8000.001 | 0.51 | 3.9031 | 7000 | 0.41 | 3.8451 | 0.5 | -0.13 | -0.30103 |  |  |  | 820 | 19.6135 | 2.9138
[6 empty] | 8000 | 0.47 | 3.9031 | 0.6 | -0.11 | -0.22185 |  |  |  | 840 | 19.8571 | 2.9243
[6 empty] | 10000.001 | 0.64 | 4 | 0.7 | -0.1 | -0.1549 |  |  |  | 860 | 20.1885 | 2.9345
[9 empty] | 0.8 | -0.08 | -0.09691 |  |  |  | 880 | 20.1706 | 2.9445
[9 empty] | 0.9 | -0.1 | -0.045757 |  |  |  | 900 | 20.308 | 2.9542
[9 empty] | 1 | -0.08 | 0 |  |  |  | 920 | 21.3073 | 2.9638
[9 empty] | 2 | -0.06 | 0.30103 |  |  |  | 940 | 22.3874 | 2.9731
[9 empty] | 3 | -0.08 | 0.47712 |  |  |  | 960 | 22.6759 | 2.9823
[9 empty] | 4 | -0.06 | 0.60206 |  |  |  | 980 | 22.8362 | 2.9912
[9 empty] | 5 | -0.06 | 0.69897 |  |  |  | 1000.001 | 23.3397 | 3
[9 empty] | 6 | -0.06 | 0.77815
[9 empty] | 7 | -0.07 | 0.8451
[9 empty] | 8 | -0.1 | 0.90309
[9 empty] | 9 | -0.15 | 0.95424
[9 empty] | 10 | -0.15 | 1
[9 empty] | 15 | -0.16 | 1.1761
[9 empty] | 20 | -0.33 | 1.301
[9 empty] | 25 | -0.43 | 1.3979
[9 empty] | 30.001 | -0.33 | 1.4771
We need to find a LISN that works above 1 GHz.
LISNTH is a placeholder.
Values below 0.005 MHz use an equation based on the measured coupling capacitor.

## Cable Attenuation
Cable | 5m + 2m |  | Cable |  |  | Cable |  |  | Cable |  |  | Cable |  |  | Cable
| Insertion |  |  | Insertion |  |  | Insertion |  |  | Insertion |  |  | Insertion |  |  | Insertion
Frequency | Loss |  | Frequency | Loss |  | Frequency | Loss |  | Frequency | Loss |  | Frequency | Loss |  | Frequency | Loss
(MHz) | (dB) |  | (MHz) | (dB) |  | (MHz) | (dB) |  | (MHz) | (dB) |  | (MHz) | (dB) |  | (MHz) | (dB)
| Cable1 |  |  | Cable2 |  |  | Cable3 |  |  | Cable4 |  |  | Cable5 |  |  | Cable6
0.0001 | 0 | -4 | 0.0001 | 0 | -4 | 0.0001 | 0 | -4 | 0.0001 | 0 | -4 | 0.0001 | 0 | -4 | 0.0001 | 0 | -4
50 | 0.25 | 1.699 | 50 | 0.25 | 1.699 | 50 | 0.25 | 1.699 | 50 | 0.25 | 1.699 | 50 | 0.25 | 1.699 | 50 | 0.25 | 1.699
100 | 0.4 | 2 | 100 | 0.4 | 2 | 100 | 0.4 | 2 | 100 | 0.4 | 2 | 100 | 0.4 | 2 | 100 | 0.4 | 2
1000 | 1.8 | 3 | 1000 | 1.8 | 3 | 1000 | 1.8 | 3 | 1000 | 1.8 | 3 | 1000 | 1.8 | 3 | 1000 | 1.8 | 3
2000 | 2.2 | 3.301 | 2000 | 2.2 | 3.301 | 2000 | 2.2 | 3.301 | 2000 | 2.2 | 3.301 | 2000 | 2.2 | 3.301 | 2000 | 2.2 | 3.301
4500 | 3.1 | 3.6532 | 4500 | 3.1 | 3.6532 | 4500 | 3.1 | 3.6532 | 4500 | 3.1 | 3.6532 | 4500 | 3.1 | 3.6532 | 4500 | 3.1 | 3.6532
9000 | 4.5 | 3.9542 | 9000 | 4.5 | 3.9542 | 9000 | 4.5 | 3.9542 | 9000 | 4.5 | 3.9542 | 9000 | 4.5 | 3.9542 | 9000 | 4.5 | 3.9542
10000.001 | 4.7 | 4 | 10000.001 | 4.7 | 4 | 10000.001 | 4.7 | 4 | 10000.001 | 4.7 | 4 | 10000.001 | 4.7 | 4 | 10000.001 | 4.7 | 4